## 표지(국문)
ISO/IEC 17025:2017 와 KS Q ISO/IEC 17025:2017 에 의한 공인인정범위
에이치엠테크
충남 서산시 대산읍 충의로 2493-4
전화 : 041)662-2722 팩스 : 041)662-2723 e-mail : hmtech@hmtech.or.kr
교 정
유효기간 만료일 : 2026. 06. 07. | [6 empty] | 인정번호 : KC22-399
KOLAS 평가결과에 의해 다음의 교정수행에 대하여 공인됩니다.
분류번호 | 교정항목 | 현장 교정 | 분류번호 | 교정항목 | 현장 교정 | 분류번호 | 교정항목 | 현장 교정
901. 화학분석
90103 | 가스 분석기 | Y
주석
1. 위 기관은 고정표준실교정 및 현장교정 서비스를 제공한다.
2. 현장교정 서비스를 제공하는 기관은 "KOLAS-SR-007 현장 시험 및 교정 수행을 위한 추가기술요건"을 만족한다.
3. 인정범위 상에 "Y"가 표기된 항목은 현장교정 서비스가 가능하고, "N"이 표기된 항목은 현장교정 서비스가 불가능하다.
4. 측정불확도는 포함인자 k=2를 사용하며, 신뢰수준 약 95 %를 나타내는 확장불확도로 표현되며 정상적인 조건에서 고객에 제공될 수 있는 최소의 측정불확도를 의미한다.
5. 일반적으로, 교정성적서에 기재된 측정불확도는 교정용 표준기, 고객의 장비와 교정환경 등의 영향 때문에, 공인인정범위에 기재된 측정불확도보다 더 크게 표현됨을 유의하여야 한다.

## 교정측정능력(한글)
901. 화학분석
측정량/장비 | 분류번호 | 교정범위 | 측정불확도 (신뢰수준 약 95 %) | 사용표준/측정방법 등
가스 분석기 | 90103 |  |  | 표준가스 / HMTECH-01M
산소(O₂) |  | (0 ~ 18) cmol/mol | 2.2 x 10¯²
일산화탄소(CO) |  | (0 ~ 103) μmol/mol | 2.0 x 10¯²
황화수소(H2S) |  | (0 ~ 25) μmol/mol | 3.4 x 10¯²
이소부탄(i-C4H10) |  | (0 ~ 0.5) cmol/mol | 2.9 x 10¯²
이소부탄(i-C4H10) |  | (0.5 ~ 0.8) cmol/mol | 2.0 x 10¯²
노말헥산(n-C6H14) |  | (0 ~ 0.3) cmol/mol | 2.5 x 10¯²
노말헥산(n-C6H14) |  | (0.3 ~ 0.6) cmol/mol | 1.4 x 10¯²
메탄(CH4) |  | (0 ~ 1.5) cmol/mol | 3.2 x 10¯²
메탄(CH4) |  | (1.5 ~ 2.5) cmol/mol | 2.4 x 10¯²
수소(O₂) |  | (0 ~ 2.1) cmol/mol | 2.5 x 10¯²

## 표지(영문)
SCOPE OF ACCREDITATION TO ISO/IEC 17025:2017 & KS Q ISO/IEC 17025:2017
HMTECH CO., LTD.
2493-4 Chungui-ro, Daesan-eup, Seosan-si, Chungcheongnam-do, Korea
Phone : 041-662-2722 , Fax : 041-662-2723 , e-mail: hmtech@hmtech.or.kr
CALIBRATION
Valid To : Jun. 07, 2026. | [5 empty] | Accreditation No : KC22-399
In recognition of the successful completion of the KOLAS evaluation process,
accreditation is granted to this laboratory to perform the following calibrations
Field Code | Item of Calibration | on-site | Field Code | Item of Calibration | on-site | Field Code | Item of Calibration | on-site
901. Chemical analysis
90103 | Gas analyzers | Y
Note
1. This laboratory provides calibration services in permanent standard laboratory and at on-site.
2. Laboratory conducts on-site calibration should meet requirements of KOLAS-SR-007.
3. On-site calibration is allowed to items with marking 'Y', not allowed to items with marking 'N'.
4. Measurement uncertainty normally is quoted as an expanded uncertainty at a coverage probability of 95 %, which usually requires the use of a coverage factor of k=2. It expresses the lowest uncertainty of measurement that can be provided by accredited calbration laboratories in normal conditions.
5.Due to the calibration environment such as reference standards or customers’ facilities, it is note that uncertainty of measurement on a calibration certificate may be expressed larger than measurement uncertainty on scope of accreditation in general.

## 교정측정능력(영문)
901. Chemical analysis
Measured Quantity Instrument or Gauge | Field Code | Range | Measurement uncertainty (The Confidence Level is about 95 %) | Standard/Method of Measurement etc.
Gas Analyzers | 90103 |  |  | Standard gas / HMTECH-01M
Oxygen(O2) |  | (0 ~ 18) cmol/mol | 2.2 X 10¯²
Carbon Monoxide(CO) |  | (0 ~ 103) μmol/mol | 2.0 X 10¯²
Hydrogen sulfide(H2S) |  | (0 ~ 25) μmol/mol | 3.4 X 10¯²
ISOBUTANE(i-C4H10) |  | (0 ~ 0.5) cmol/mol | 2.9 X 10¯²
ISOBUTANE(i-C4H10) |  | (0.5 ~ 0.8) cmol/mol | 2.0 X 10¯²
Normal hexane(n-C6H14) |  | (0 ~ 0.3) cmol/mol | 2.5 X 10¯²
Normal hexane(n-C6H14) |  | (0.3 ~ 0.6) cmol/mol | 1.4 X 10¯²
methane(CH4) |  | (0 ~ 1.5) cmol/mol | 3.2 X 10¯²
methane(CH4) |  | (1.5 ~ 2.5) cmol/mol | 2.4 X 10¯²
Hydrogen(H2) |  | (0 ~ 2.1) cmol/mol | 2.5 X 10¯²